## Slide 1
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
5 MW
GENERAL SET UP
Nodes
Notes: 5

## Slide 2
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
5 MW
GENERAL SET UP
Producer 1
Producer 2
Producer 1
Producer 2
Producer 1
Producer 2
Notes: 5

## Slide 3
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
5 MW
GENERAL SET UP
VREs capacity
Conventional capacity
…
…
…
…
…
…
…
…
…
…
* (… = the same)
Notes: 5

## Slide 4
1
15 MW
50
8 MW
2
5 MW
8 MW
5 MW
3
Time period:
T1 (off peak)
5 MW
5 MW
%
40
%
Scenario 1
Scenario 2
Time period:
T2 (peak)
T1
T2
…
…
50
%
40
%
T1
T2
…
…
70
%
60
%
T1
T2
…
…
70
%
60
%
T1
T2
…
…
30
%
30
%
T1
T2
…
…
30
%
30
%
T1
T2
…
…
VRES AVAILABILITY (% of capacity)
Notes: 5

## Slide 5
1
Demand:
15 MW
8 MW
2
Demand:
5 MW
8 MW
5 MW
3
Demand:
Time period:
T1 (off peak)
5 MW
5 MW
low
low
Scenario 1
Scenario 2
Time period:
T2 (peak)
high
T1
T2
…
low
low
T1
T2
…
…
high
high
T1
T2
…
…
DEMAND POFILE
Notes: 5

## Slide 6
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
5 MW
Line 3: 1 MW
TRANSMISSION LINES (: installed capacity)
Line 1: 1 MW
Line 2: 1 MW
Notes: 5

## Slide 7
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
5 MW
ENERGY FLOWS DIRECTIONS
Time period:
T1 (off peak)
Scenario 1
Scenario 2
Time period:
T2 (peak)
Notes: 5

## Slide 8
GENERAL SET UP
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 15 | 50064.4 | 58867.6
2 | 7257.6 | 12 | 50894.3 | 58151.9
TYPE OF ENERGY MARKET
Scenario
VREs
Generation (MW)
Share of VREs in total generation mix (%)
Conventional
Generation (MW)
Total consumption
(generation) (MW)
Notes: 5

## Slide 9
GENERAL SET UP
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 15 | 50064.4 | 58867.6
2 | 7257.6 | 12 | 50894.3 | 58151.9
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
100K
G. B. (€)
1M
Carbon tax
1
2
3
Node 1
Node 2
Node 3
Total transmission capacity expansion budget
Total generation capacity expansion budget
Subsides for the costs arising from investments in VRES generation capacity expansion
1
2
3
Node 1
Node 2
Node 3
Notes: 5

## Slide 10
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 1.512 MW
5 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
100K
G. B. (€)
100K
+ 0.392 MW
5 MW
+ 3.342 MW
Notes: 5

## Slide 11
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 1.512 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
100K
G. B. (€)
100K
+ 0.392 MW
5 MW
+ 3.342 MW
Notes: 5

## Slide 12
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
+ 3.342 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 1.512 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
100K
G. B. (€)
100K
+ 0.392 MW
COURNOT OLIGOPOLY
Notes: 5

## Slide 13
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 2.977 MW
5 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
G. B. (€)
100K
+ 3.4 MW
5 MW
+ 3.342 MW
1M
Notes: 5

## Slide 14
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.977 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
G. B. (€)
100K
+ 3.4 MW
5 MW
+ 3.342 MW
1M
Notes: 5

## Slide 15
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
+ 3.342 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.977 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
G. B. (€)
100K
+ 3.4 MW
COURNOT OLIGOPOLY
1M
Notes: 5

## Slide 16
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
G. B. (€)
100K
1M
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
G. B. (€)
100K
COURNOT OLIGOPOLY
COURNOT OLIGOPOLY
Conventional generation
Conventional generation
100K

## Slide 17
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
G. B. (€)
100K
1M
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
G. B. (€)
100K
100K
COURNOT OLIGOPOLY
COURNOT OLIGOPOLY
Energy flow
Energy flow

## Slide 18
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 2.977 MW
5 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
70
70
70
1M
G. B. (€)
100K
+ 3.4 MW
5 MW
+ 3.342 MW
Notes: 5

## Slide 19
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.977 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
100K
+ 3.4 MW
5 MW
+ 3.342 MW
1M
70
70
70
Notes: 5

## Slide 20
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
+ 3.342 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.977 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
100K
+ 3.4 MW
COURNOT OLIGOPOLY
1M
70
70
70
Notes: 5

## Slide 21
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19846.2 | 28649.4
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 1.549 MW
5 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
50
50
50
70
70
70
100K
G. B. (€)
100K
+ 0.365 MW
5 MW
+ 3.342 MW
Notes: 5

## Slide 22
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 1.512 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
100K
G. B. (€)
100K
+ 0.392 MW
5 MW
+ 3.342 MW
50
50
50
70
70
70
Notes: 5

## Slide 23
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 1.512 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
100K
G. B. (€)
100K
+ 0.392 MW
5 MW
+ 3.342 MW
50
50
50
70
70
70
COURNOT OLIGOPOLY
Notes: 5

## Slide 24
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 12858.1 | 45 | 15456.0 | 28314.1
2 | 10733.2 | 41 | 15456.0 | 26189.2
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 8.747 MW
5 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
50
50
50
70
70
70
G. B. (€)
100K
+ 3.61 MW
5 MW
+ 4.31 MW
+ 4.31 MW
1M
Notes: 5

## Slide 25
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 12858.1 | 45 | 15456.0 | 28314.1
2 | 10733.2 | 41 | 15456.0 | 26189.2
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
+ 8.747 MW
5 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
50
50
50
70
70
70
G. B. (€)
100K
+ 3.61 MW
5 MW
+ 4.31 MW
+ 4.31 MW
PERFECT COMPETITION
1M
Notes: 5

## Slide 26
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 12858.1 | 45 | 15456.0 | 28314.1
2 | 10733.2 | 41 | 15456.0 | 26189.2
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
+ 8.747 MW
5 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
50
50
50
70
70
70
G. B. (€)
100K
+ 3.61 MW
5 MW
+ 4.31 MW
+ 4.31 MW
1M
COURNOT OLIGOPOLY
Notes: 5

## Slide 27
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19846.2 | 28649.4
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 1.549 MW
5 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
50
50
50
0
0
0
100K
G. B. (€)
100K
+ 0.365 MW
5 MW
+ 3.342 MW
Notes: 5

## Slide 28
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 1.512 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
100K
G. B. (€)
100K
+ 0.392 MW
5 MW
+ 3.342 MW
50
50
50
Notes: 5

## Slide 29
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
+ 3.342 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 1.512 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
100K
G. B. (€)
100K
+ 0.392 MW
COURNOT OLIGOPOLY
50
50
50
Notes: 5

## Slide 30
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 2.977 MW
5 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
100K
+ 3.4 MW
5 MW
+ 3.342 MW
1M
50
50
50
Notes: 5

## Slide 31
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.977 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
1M
G. B. (€)
100K
+ 3.4 MW
5 MW
+ 3.342 MW
50
50
50
Notes: 5

## Slide 32
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
+ 3.342 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.977 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
100K
+ 3.4 MW
COURNOT OLIGOPOLY
1M
50
50
50
Notes: 5

## Slide 33
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 33 | 18101.8 | 26905.0
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 2.054 MW
5 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
100K
5 MW
+ 3.342 MW
100K
100
100
100
Notes: 5

## Slide 34
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 1.512 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
100K
+ 0.392 MW
5 MW
+ 3.342 MW
100K
100
100
100
Notes: 5

## Slide 35
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
+ 3.342 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 1.512 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
100K
+ 0.392 MW
COURNOT OLIGOPOLY
100K
100
100
100
Notes: 5

## Slide 36
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 2.977 MW
5 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
100K
5 MW
+ 3.342 MW
100
100
100
1M
+ 3.4 MW
Notes: 5

## Slide 37
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.977 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
100K
+ 3.4 MW
5 MW
+ 3.342 MW
100
100
100
1M
Notes: 5

## Slide 38
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
+ 3.342 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.977 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
100K
+ 3.4 MW
COURNOT OLIGOPOLY
100
100
100
1M
Notes: 5

## Slide 39
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 2.977 MW
5 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
30
30
30
G. B. (€)
100K
5 MW
+ 3.342 MW
100
100
100
1M
+ 3.4 MW
Notes: 5

## Slide 40
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.977 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
100K
+ 3.4 MW
5 MW
+ 3.342 MW
100
100
100
1M
30
30
30
Notes: 5

## Slide 41
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
+ 3.342 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.977 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
100K
+ 3.4 MW
COURNOT OLIGOPOLY
100
100
100
1M
30
30
30
Notes: 5

## Slide 42
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 2.977 MW
5 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
100K
5 MW
+ 3.342 MW
100
100
100
1M
+ 3.4 MW
50
50
50
Notes: 5

## Slide 43
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.977 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
100K
+ 3.4 MW
5 MW
+ 3.342 MW
100
100
100
1M
50
50
50
Notes: 5

## Slide 44
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 31 | 19947.4 | 28750.6
2 | 7257.6 | 27 | 19947.4 | 27205.0
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
+ 3.342 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.977 MW
+ 3.342 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
100K
+ 3.4 MW
COURNOT OLIGOPOLY
100
100
100
1M
50
50
50
Notes: 5

## Slide 45
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 12858.1 | 45 | 15456.0 | 28314.1
2 | 10733.2 | 41 | 15456.0 | 26189.2
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 8.747 MW
5 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
100K
5 MW
100
100
100
1M
+ 3.61 MW
70
70
70
+ 4.31 MW
+ 4.31 MW
Notes: 5

## Slide 46
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 12858.1 | 45 | 15456.0 | 28314.1
2 | 10733.2 | 41 | 15456.0 | 26189.2
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
+ 8.747 MW
5 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
100K
5 MW
100
100
100
1M
+ 3.61 MW
70
70
70
+ 4.31 MW
+ 4.31 MW
PERFECT COMPETITION
Notes: 5

## Slide 47
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 12858.1 | 45 | 15456.0 | 28314.1
2 | 10733.2 | 41 | 15456.0 | 26189.2
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
+ 8.747 MW
5 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
100K
5 MW
100
100
100
1M
+ 3.61 MW
70
70
70
+ 4.31 MW
+ 4.31 MW
COURNOT OLIGOPOLY
Notes: 5