## Slide 1
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
5 MW
GENERAL SET UP
Nodes
Notes: 5

## Slide 2
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
5 MW
GENERAL SET UP
Producer 1
Producer 2
Producer 1
Producer 2
Producer 1
Producer 2
Notes: 5

## Slide 3
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
5 MW
GENERAL SET UP
VREs capacity
Conventional capacity
…
…
…
…
…
…
…
…
…
…
* (… = the same)
Notes: 5

## Slide 4
1
15 MW
50
8 MW
2
5 MW
8 MW
5 MW
3
Time period:
T1 (off peak)
5 MW
5 MW
%
40
%
Scenario 1
Scenario 2
Time period:
T2 (peak)
T1
T2
…
…
50
%
40
%
T1
T2
…
…
70
%
60
%
T1
T2
…
…
70
%
60
%
T1
T2
…
…
30
%
30
%
T1
T2
…
…
30
%
30
%
T1
T2
…
…
VRES AVAILABILITY (% of capacity)
Notes: 5

## Slide 5
1
Demand:
15 MW
8 MW
2
Demand:
5 MW
8 MW
5 MW
3
Demand:
Time period:
T1
5 MW
5 MW
low
low
Scenario 1
Scenario 2
Time period:
T2
high
T1
T2
…
low
low
T1
T2
…
…
high
high
T1
T2
…
…
DEMAND PROFILE
Notes: 5

## Slide 6
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
5 MW
Line 3: 1 MW
TRANSMISSION LINES (: installed capacity)
Line 1: 1 MW
Line 2: 1 MW
Notes: 5

## Slide 7
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
5 MW
ENERGY FLOWS DIRECTIONS
Time period:
T1 (off peak)
Scenario 1
Scenario 2
Time period:
T2 (peak)
Notes: 5

## Slide 8
GENERAL SET UP
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 15 | 50064.4 | 58867.6
2 | 7257.6 | 12 | 50894.3 | 58151.9
TYPE OF ENERGY MARKET
Scenario
VREs
Generation (MW)
Share of VREs in total generation mix (%)
Conventional
Generation (MW)
Total consumption
(generation) (MW)
Notes: 5

## Slide 9
GENERAL SET UP
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 15 | 50064.4 | 58867.6
2 | 7257.6 | 12 | 50894.3 | 58151.9
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
100K
G. B. (€)
1M
Carbon tax
1
2
3
Node 1
Node 2
Node 3
Total transmission capacity expansion budget
Total generation capacity expansion budget
Subsides for the costs arising from investments in VRES generation capacity expansion
1
2
3
Node 1
Node 2
Node 3
Notes: 5

## Slide 10
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 15 | 50064.4 | 58867.6
2 | 7257.6 | 12 | 50894.3 | 58151.9
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 0.736 MW
5 MW
+ 23.675 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
100K
G. B. (€)
1M
5 MW
+ 25.229 MW
+ 2.666 MW
+ 0.073 MW
+ 0.284 MW
+ 0.809 MW
Notes: 5

## Slide 11
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 9516.83 | 14 | 57735.4 | 67252.3
2 | 7869.29 | 12 | 57735.4 | 65604.7
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 1.269 MW
+ 29.077 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
100K
G. B. (€)
5 MW
+ 28.112 MW
1M
+ 1.517 MW
+ 1.386 MW
+ 4.341 MW
Notes: 5

## Slide 12
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 9516.84 | 14 | 57735.4 | 67252.3
2 | 7869.29 | 12 | 57735.4 | 65604.7
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
+ 28.595 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 1.269 MW
+ 28.594 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
100K
G. B. (€)
COURNOT OLIGOPOLY
1M
+ 0.759 MW
+ 0.693 MW
+ 2.17 MW
+ 0.759 MW
+ 2.171 MW
+ 0.693 MW
Notes: 5

## Slide 13
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 15 | 50064.4 | 58867.6
2 | 7257.6 | 12 | 50894.3 | 58151.9
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 0.736 MW
5 MW
+ 23.827 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
G. B. (€)
1M
5 MW
+ 25.076 MW
+ 2.643 MW
+ 0.101 MW
+ 0.307 MW
+ 0.781 MW
1M
Notes: 5

## Slide 14
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 9516.83 | 14 | 57735.4 | 67252.3
2 | 7869.29 | 12 | 57735.4 | 65604.7
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 1.269 MW
+ 23.77 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
G. B. (€)
5 MW
+ 33.418 MW
1M
+ 1.517 MW
+ 1.386 MW
+ 4.341 MW
1M
Notes: 5

## Slide 15
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 9516.83 | 14 | 57735.4 | 67252.3
2 | 7869.29 | 12 | 57735.4 | 65604.7
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
+ 25.156 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 1.269 MW
+ 32.033 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
0
0
0
G. B. (€)
COURNOT OLIGOPOLY
1M
+ 1.517 MW
+ 1.386 MW
+ 4.341 MW
1M
Notes: 5

## Slide 16
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 10200.8 | 17 | 49151.1 | 59351.9
2 | 8455.56 | 14 | 49981.1 | 58436.6
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 0.897 MW
5 MW
+ 22.746 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
70
70
70
G. B. (€)
1M
5 MW
+ 25.68 MW
+ 2.657 MW
+ 0.293 MW
100K
+ 2.278 MW
+ 0.693 MW
Notes: 5

## Slide 17
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 12185.3 | 18 | 56624.1 | 68809.4
2 | 10156.6 | 15 | 56624.1 | 66780.6
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.054 MW
+ 31.018
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
5 MW
+ 25.696 MW
1M
+ 3.096 MW
+ 4.548 MW
70
70
70
+ 4.093 MW
100K
Notes: 5

## Slide 18
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 12185.3 | 18 | 56624.1 | 68809.4
2 | 10156.6 | 15 | 56624.1 | 66780.6
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
+ 23.295 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.054 MW
+ 33.418 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
COURNOT OLIGOPOLY
1M
+ 4.548 MW
70
70
70
+ 7.19 MW
100K
Notes: 5

## Slide 19
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 10200.8 | 17 | 49151.1 | 59351.9
2 | 8455.56 | 14 | 49981.1 | 58436.6
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 0.897 MW
5 MW
+ 21.942 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
70
70
70
G. B. (€)
1M
5 MW
+ 26.484 MW
+ 2.628 MW
+ 0.322 MW
1M
+ 2.292 MW
+ 0.68 MW
Notes: 5

## Slide 20
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 12196.0 | 18 | 56612.3 | 68808.3
2 | 10165.7 | 15 | 56612.3 | 66778.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.086 MW
+ 33.418
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
5 MW
+ 23.28
MW
1M
+ 7.213 MW
+ 4.546 MW
1M
70
70
70
Notes: 5

## Slide 21
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 12196.0 | 18 | 56612.3 | 68808.3
2 | 10165.7 | 15 | 56612.3 | 66778.0
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
+ 28.872 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.086 MW
+ 27.826 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
COURNOT OLIGOPOLY
1M
+ 7.213 MW
+ 4.546 MW
1M
70
70
70
Notes: 5

## Slide 22
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 16518.7 | 33 | 33183.6 | 49702.3
2 | 13870.8 | 28 | 36554.0 | 50424.8
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 2.054 MW
5 MW
+ 16.777 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
50
50
50
70
70
70
G. B. (€)
1M
5 MW
+ 17.119 MW
+ 10.158 MW
+ 6.243 MW
100K
Notes: 5

## Slide 23
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 18326.8 | 28 | 47958.6 | 66285.4
2 | 15228.2 | 24 | 47958.6 | 63186.8
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.054 MW
+ 24.817 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
5 MW
+ 23.55
MW
1M
+ 12.018 MW
70
70
70
+ 11.093 MW
+ 0.71 MW
50
50
50
100K
Notes: 5

## Slide 24
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 18326.8 | 28 | 47958.6 | 68808.3
2 | 15228.2 | 24 | 47958.6 | 63186.8
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
+ 23.55 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.054 MW
+ 24.817 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
COURNOT OLIGOPOLY
1M
+ 12.018 MW
100K
70
70
70
+ 11.093 MW
+ 0.71 MW
50
50
50
Notes: 5

## Slide 25
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 29762.2 | 59 | 20896.7 | 50659.0
2 | 25222.5 | 51 | 24267.1 | 49489.6
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 20.545 MW
5 MW
+ 7.702 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
70
70
70
G. B. (€)
1M
5 MW
+ 7.91 MW
1M
+ 22.591 MW
+ 21.964 MW
50
50
50
Notes: 5

## Slide 26
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 30642.2 | 47 | 34758.2 | 65400.5
2 | 25793.4 | 43 | 34758.2 | 60551.6
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 20.545 MW
+ 26.012 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
5 MW
+ 2.712
MW
1M
+ 39.603 MW
1M
70
70
70
+ 9.552 MW
50
50
50
Notes: 5

## Slide 27
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 30642.2 | 47 | 34758.2 | 65400.5
2 | 25793.4 | 43 | 34758.2 | 60551.6
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 20.545 MW
+ 28.724 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
50
50
50
G. B. (€)
COURNOT OLIGOPOLY
1M
+ 33.548 MW
1M
70
70
70
+ 6.055 MW
+ 9.552 MW
Notes: 5

## Slide 28
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 18 | 40214.8 | 49018.0
2 | 7257.6 | 15 | 40561.2 | 47818.8
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 0.055 MW
5 MW
+ 18.373 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
1M
5 MW
+ 18.986 MW
100K
50
50
50
Notes: 5

## Slide 29
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 12901.5 | 22 | 45238.6 | 58140.1
2 | 10770.5 | 19 | 45238.6 | 56009.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.054 MW
+ 10.901 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
5 MW
+ 32.294 MW
1M
+ 8.712 MW
+ 1.124 MW
50
50
50
0
0
0
100K
Notes: 5

## Slide 30
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 12901.5 | 22 | 45238.6 | 58140.1
2 | 10770.5 | 19 | 45238.6 | 56009.0
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.054 MW
+ 10.901 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
50
50
50
G. B. (€)
COURNOT OLIGOPOLY
1M
+ 8.712 MW
+ 32.294 MW
+ 1.124 MW
0
0
0
100K
Notes: 5

## Slide 31
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 18 | 40214.8 | 49018.0
2 | 7257.6 | 15 | 40561.2 | 47818.8
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 0.055 MW
5 MW
+ 19.7 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
1M
5 MW
+ 17.659 MW
1M
50
50
50
Notes: 5

## Slide 32
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 13477.1 | 24 | 43113.5 | 56590.6
2 | 11263.8 | 21 | 43113.5 | 54377.3
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 4.334 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
1M
+ 9.936 MW
+ 32.593 MW
+ 0.825 MW
0
0
0
PERFECT COMPETITION
1M
50
50
50
+ 7.739 MW
Notes: 5

## Slide 33
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 13477.1 | 24 | 43113.5 | 56590.6
2 | 11263.8 | 21 | 43113.5 | 54377.3
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 4.334 MW
+ 32.593 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
5 MW
+ 7.739 MW
1M
+ 9.936 MW
+ 0.825 MW
0
0
0
COURNOT OLIGOPOLY
+ 2.008 MW
1M
50
50
50
Notes: 5

## Slide 34
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 23 | 30249.6 | 39052.8
2 | 7257.6 | 19 | 31749.9 | 39007.5
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 0.321 MW
5 MW
+ 12.512 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
1M
5 MW
+ 12.249 MW
100K
100
100
100
Notes: 5

## Slide 35
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 14701.3 | 29 | 36504.6 | 51205.9
2 | 12232.3 | 25 | 36504.6 | 48736.8
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
PERFECT COMPETITION
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.054 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
5 MW
+ 31.322 MW
1M
+ 9.532 MW
+ 3.399 MW
0
0
0
100K
+ 0.811 MW
100
100
100
Notes: 5

## Slide 36
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 14701.3 | 29 | 36504.6 | 51205.9
2 | 12232.3 | 25 | 36504.6 | 48736.8
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 2.054 MW
+ 14.628 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
COURNOT OLIGOPOLY
1M
+ 5.068 MW
+ 16.694 MW
+ 2.008 MW
0
0
0
100K
+ 2.202 MW
+ 4.463 MW
100
100
100
Notes: 5

## Slide 37
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 8803.2 | 23 | 30249.6 | 39052.8
2 | 7257.6 | 19 | 31749.9 | 39007.5
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 0.321 MW
5 MW
+ 12.479 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
0
0
0
G. B. (€)
1M
5 MW
+ 12.282 MW
1M
100
100
100
Notes: 5

## Slide 38
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 18124.2 | 41 | 25955.8 | 44079.9
2 | 12232.3 | 37 | 25955.8 | 41202.8
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 13.096 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
1M
+ 12.93 MW
+ 15.625 MW
0
0
0
+ 6.885 MW
1M
100
100
100
PERFECT COMPETITION
Notes: 5

## Slide 39
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 18124.2 | 41 | 25955.8 | 44079.9
2 | 15247.0 | 37 | 25955.8 | 41202.8
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 13.096 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
5 MW
+ 15.625 MW
1M
+ 6.885 MW
0
0
0
+ 12.93 MW
1M
100
100
100
COURNOT OLIGOPOLY
Notes: 5

## Slide 40
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 25070.9 | 64 | 14122.3 | 39193.2
2 | 21201.3 | 54 | 17804.1 | 39005.4
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 20.545 MW
5 MW
+ 1.995 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
30
30
30
G. B. (€)
1M
5 MW
+ 2.276 MW
1M
100
100
100
+ 17.369 MW
+ 17.214 MW
Notes: 5

## Slide 41
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 24297.1 | 54 | 20326.1 | 44623.2
2 | 20538.1 | 50 | 20326.1 | 40864.2
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 20.545 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
1M
+ 18.472 MW
+ 7.247 MW
+ 14.466 MW
1M
100
100
100
PERFECT COMPETITION
30
30
30
Notes: 5

## Slide 42
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 24297.1 | 54 | 20326.1 | 44623.2
2 | 20538.1 | 50 | 20326.1 | 40864.2
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 20.545 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
5 MW
+ 3.647 MW
1M
+ 16.456 MW
+ 16.482 MW
1M
100
100
100
COURNOT OLIGOPOLY
+ 3.6 MW
30
30
30
Notes: 5

## Slide 43
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 28708.9 | 71 | 11665.5 | 40374.4
2 | 24319.7 | 60 | 16535.1 | 40854.7
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 20.545 MW
5 MW
+ 1.986 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
50
50
50
G. B. (€)
1M
5 MW
+ 2.12 MW
1M
100
100
100
+ 21.377 MW
+ 20.939 MW
Notes: 5

## Slide 44
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 28244.8 | 54 | 23656.5 | 51901.3
2 | 23858.1 | 50 | 23656.5 | 47514.6
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 20.545 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
1M
+ 25.86 MW
+ 12.203 MW
+ 13.1 MW
1M
100
100
100
PERFECT COMPETITION
50
50
50
+ 3.317 MW
Notes: 5

## Slide 45
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 28244.8 | 54 | 23656.5 | 51901.3
2 | 28244.8 | 50 | 23656.5 | 47514.6
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 20.545 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
5 MW
+ 5.893 MW
1M
+ 19.756 MW
+ 19.204 MW
1M
100
100
100
COURNOT OLIGOPOLY
+ 6.31 MW
50
50
50
+ 1.544 MW
+ 1.773 MW
Notes: 5

## Slide 46
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 32403.0 | 72 | 9479.06 | 41882.1
2 | 27333.4 | 62 | 16535.1 | 43868.5
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
Line 1: 1 MW
Line 2: 1 MW
CENTRALISED PLANNING
+ 20.545 MW
5 MW
+ 2.079 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
50
50
50
G. B. (€)
1M
5 MW
+ 2.027 MW
1M
100
100
100
+ 24.397 MW
+ 20.095 MW
+ 1.906 MW
+ 6.042 MW
Notes: 5

## Slide 47
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 37336.7 | 71 | 15456.0 | 52792.7
2 | 32826.0 | 68 | 15456.0 | 48282.0
1
15 MW
8 MW
2
5 MW
8 MW
3
5 MW
Line 3: 1 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 20.545 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
1M
+ 1.023 MW
+ 37.855 MW
1M
100
100
100
PERFECT COMPETITION
+ 5.246 MW
70
70
70
+ 42.078 MW
Notes: 5

## Slide 48
S. | VRES gen. | % | Conv. gen. | Consum.
1 | 37336.7 | 71 | 15456.0 | 52792.7
2 | 32826.0 | 68 | 15456.0 | 48282.0
1
15 MW
8 MW
2
5 MW
8 MW
3
Line 3: 1 MW
5 MW
Line 1: 1 MW
Line 2: 1 MW
+ 20.545 MW
Tax ( €/Mwh)
Tr. B. (€)
Incentive (%)
1
2
3
1
2
3
G. B. (€)
5 MW
1M
+ 37.855 MW
+ 38.877 MW
1M
100
100
100
COURNOT OLIGOPOLY
+ 5.246 MW
+ 4.224 MW
70
70
70
Notes: 5